ICAE 2026 — Paper Outline (Updated 26/06/2026)

Proposed title: A Physics-Informed Heterogeneous Graph Attention Network Suggorate Model for Office Retrofit NZEB, integrated life cycle assessment, and Multi-Objective Optimization in Hot-Humid Climates

§1. Introduction

- 1.1 Context: building sector energy & CO₂; hot-humid SEA cooling demand growth

- 1.2 Retrofit depth classification (Ma 2012, EPBD 2024/1275, IEA Annex 61) → deep retrofit / NZEB renovation ≥50%

- 1.3 NZEB Paradox: deep retrofit reduces operational carbon but increases embodied carbon → whole-life carbon objective needed

- 1.4 LEED v5 BD+C (2025): MRp2 mandates A1–A3 embodied carbon quantification; MRc2 credits GWP reduction

- 1.5 Research gap statement + 3–4 contributions

- Đảm bảo sự cân bằng giữa độ chính xác mô hình và khả năng giải thích ở cấp độ retrofit component. Trình bày tầm quan trọng của mối quan hệ không gian trong công trình trong BEM và xác nhận tính khả thi của nó trong quyết định retrofit.

Ước tính cải tạo thường dựa trên cảm tính. Việc xác định và ra quyết định về các phương án cải tạo năng lượng tòa nhà đòi hỏi mức độ phức tạp cao, tính minh bạch và khả năng giải thích rõ ràng.

Việc sử dụng Knowledge Graph để giữ mối quan hệ không gian của tòa nhà, thay vì tuyến tính như các phương án khác, giúp mỗi chi tiết cải tạo đều liên quan mật thiết với nhau, như chính thực tế của môi trường tòa nhà.

Sustainable Building Portfolio Management through Energy, Cost, and Carbon Evaluation: A Case Study

building energy, environment, and resilience (BEER)

§2. Related Work

- 2.1 MOO retrofit: Saad 2025 (tri-objective, XGB), Carpino 2024 (Aw climate, SRC analysis) → gap: no WLC combining embodied + operational

- 2.2 Surrogate models: ANN/XGB miss zone topology; GNN emerging but not applied to retrofit MOO

- 2.3 KG in AEC: IFCGraph (Zhu 2023), BIM-to-graph → gap: not enriched with climate + compliance data

- More Work

§3. Methodology

3.1 Baseline characterization

- DOE Medium Office, Ho Chi Minh City (10.82°N, 106.63°E, Köppen Aw)

- 4,982 m², 3 floors, 18 zones, 3× PACU_VAV, COP = 3.40

- Baseline EUI = 122.1 kWh/m²/yr

3.2 CMIP6-VN climate pipeline

- BCSD delta-morphing on TMYx 2011–2025 baseline → 8 future EPW files

- 2 GCMs (ACCESS-CM2, MRI-ESM2-0) × 2 SSPs (245/585) × 2 horizons (2050s/2080s)

- 9 climate scenarios → 9 independent Pareto fronts

3.3 BIM → Heterogeneous Knowledge Graph

- IFC4 export (LOD 200/250) → Neo4j KG: 85 nodes, 361 edges

- 5 node types: Zone, Envelope, Material, System, Climate

- 5 edge types: hasEnvelope, adjacentTo, madeOf, servedBy, exposedTo

- QCVN 09:2017 compliance thresholds embedded on nodes

3.4 PI-HGAT surrogate model |

Architecture: heterogeneous attention over KG topology (8 subsections, 29 refs)

- Cross-model benchmark: PI-HGAT vs ANN, XGB, GCN — RMSE/R²/MAPE table

3.5 Retrofit parameter space

Discretization strategy for the retrofit decision space

Each retrofit parameter is discretized into a finite set of levels rather than treated as a continuous range. This choice is dictated by the downstream life-cycle requirements: every level must correspond to a commercially available product or a realizable operational setting so that an embodied-carbon factor (A1–A3), a service life (for B4 replacement), and a capital and replacement cost can be unambiguously assigned to it. Continuous ranges, by contrast, would generate intermediate values with no physical product behind them, for which neither LCA nor LCC quantities could be defined. The operational carbon term (B6) is not a level-bound attribute and is therefore excluded from this product-level inventory; it is derived separately from the simulated site energy use, the grid emission factor, and the analysis period, as defined in Section 3.6.

The number of levels is not fixed uniformly across parameters. Because the sampling is performed by Latin Hypercube Sampling (LHS), which samples each dimension independently, parameters are not constrained to share a common level count, unlike screening designs that require a symmetric low–medium–high structure. The level count of each parameter is instead governed by the granularity of the real product market: equipment that is only available in discrete performance tiers (e.g., chiller COP) is represented by fewer levels, whereas near-continuous capacities (e.g., PV and battery sizing) admit a finer discretization at no additional data-collection cost. Across the parameter set, three to four levels per variable are adopted to balance design-space resolution and the life-cycle data that each additional level requires, consistent with discretization densities reported in comparable building-renovation optimization studies.

Each level range is anchored at the calibrated baseline and extended toward improved performance, so that the optimizer retains the "no-intervention" option alongside progressively deeper retrofit measures. Level directions follow the cooling-dominated nature of the Aw climate: glazing solar heat gain coefficient and lighting power density decrease from their baseline values, roof solar reflectance increases, and envelope U-values decrease. Parameter levels and their associated life-cycle inventory data are reported in Table [X].

Table 3.5. Retrofit decision variables for NSGA-III optimization.

| Symbol | Group | Retrofit measure | Design variable (unit) | Discrete levels | Sim.¹ | Opt.² |
| --- | --- | --- | --- | --- | --- | --- |
| P1 | Opaque envelope | External wall insulation | Wall U-value (W/m²·K) | TBD | ✓ | ✓ |
| P2 |  | Roof insulation | Roof U-value (W/m²·K) | TBD | ✓ | ✓ |
| P3 |  | Cool roof | Solar reflectance (–) | TBD | ✓ | ✓ |
| P4 | Glazing envelope | Glazing system | Glazing type (U & SHGC paired)³ | TBD | ✓ | ✓ |
| P5 | Active – HVAC | Cooling efficiency | DX cooling COP | TBD | ✓ | ✓ |
| P6 |  | Cooling setpoint | Setpoint temperature (°C) | TBD | ✓ | ✓ |
| P7 | Active – lighting | Lighting power | LPD (W/m²) | TBD | ✓ | ✓ |
| P8 | Renewable & storage | Rooftop PV | Installed capacity (kWp) | TBD | ✓ | ✓ |
| P9 |  | Battery storage | BESS capacity (kWh) | TBD | – | ✓ |

¹ Included in EnergyPlus / jEPlus simulation (surrogate input dimension D = 8, P1–P8). ² Included in NSGA-III decision space (D = 9, P1–P9). P9 (BESS) is evaluated in post-processing and does not affect the simulated site EUI. ³ Glazing U-value and SHGC vary as a coupled pair tied to commercial product types; the SHGC ladder extends toward low values to capture solar-gain control in the cooling-dominated climate.

Fixed parameters (held constant across all scenarios — §3.1):

| Parameter | Baseline value | Source |
| --- | --- | --- |
| HVAC system type | VAV | Fixed (topology → future work) |
| Window-to-wall ratio | 33% | Structural constraint |
| Plug & process load density | 11.38 W/m² | EnergyPlus model |
| Lighting power density (baseline) | 6.66 W/m² | EnergyPlus model |
| Occupant density | 18.58 m²/person | EnergyPlus model |

3.6 Objective functions & constraints | ★ rewrite — f₃ changed to WLC

- f₁ = min EUI (site energy only, kWh/m²/yr) — NZEB target ≤ 61 (≥50% reduction from 122.1)

- f₂ = min LCC (USD/m²) — NPV, 20-year horizon, 8% real discount rate

- f₃ = min WLC (kgCO₂e/m²) = Embodied (A1–A3, incremental) + Operational (B6, 20 yr); GWP from ICE/CLF (LEED v5-aligned); EF_grid = 0.6592 kgCO₂e/kWh (MONRE, Công văn 1726/2024)

f₃ = A1–A3 + B2 + B3 + B4 + B6

Table 3.6. Whole-life carbon (WLC) system boundary: modules included and excluded, with rationale.

| Stage | Module | Scope | Treatment/data source | Rationale |
| --- | --- | --- | --- | --- |
| Production | A1–A3 | In | Embodied carbon per unit (ICE / CLF databases); material & equipment quantities from the BIM/IDF model | Dominant embodied contributor; required for the NZEB-paradox analysis |
| Construction | A4–A5 | Out | — | No reliable VN-specific transport/installation logistics data; typically <5% of embodied carbon |
| Use | B1 | Out | — | No direct in-use emissions from envelope/HVAC retrofit measures |
|  | B2 | In (proxy) | max(10 kgCO₂e/m² conditioned area, 1% of A1–A3), whichever greater [GLA 2022, via Kadrić] | Maintenance retained for boundary completeness; no VN-specific maintenance data, international proxy adopted |
|  | B3 | In (proxy) | 25% of B2 [GLA 2022, via Kadrić] | Repair scaled from B2 per the same guidance |
|  | B4 | In | Embodied of replaced components × number of replacements over the 20-year study period (service-life timeline, Fig. X) | Replacement carbon; within 20 yr driven mainly by BESS, PV inverters and cool-roof coating |
|  | B5 | Out | — | The analysed retrofit is the refurbishment event; counting B5 would double-count |
|  | B6 | In | Simulated site EUI × EF_grid (0.6592 kgCO₂e/kWh, MONRE 1726/2024) × 20 yr | Operational carbon; the dominant life-cycle term |
|  | B7 | Out | — | Retrofit measures do not affect water use |
| End-of-life | C1–C4 | Out | — | Lack of reliable VN end-of-life and disposal-logistics data; principal boundary limitation (see §4) |

Carbon is reported undiscounted; the analysis (study) period is 20 years. EF_grid is held static over the period (limitation, §4).

- g₁ = |PMV| ≤ 0.5 (Fanger model, hard constraint)

- g₂ = QCVN 09:2017 roof U ≤ 0.45 W/m²K (hard constraint encoded in NSGA-III)

- NSGA-III (3-objective)

3.7 NSGA-III optimization |

- Reference point generation for 3-objective space

- 9 parallel runs (one per climate scenario) → 9 independent Pareto fronts

- Constraint handling: g₁, g₂ as penalty functions

- Entropy-TOPSIS

~~3.8 LLM compliance engine~~ | descoped → Future Work

§4. Results & Discussion

- 4.1 PI-HGAT training performance — R², RMSE, MAPE vs baseline models

- 4.3 Pareto front analysis: EUI vs LCC vs WLC trade-off structure

- 4.4 ★ QCVN constraint effect: compliance rate in Pareto solutions; contrast with unconstrained run

- 4.5 Climate sensitivity: Pareto front shift across 9 CMIP6 scenarios

- 4.6 ★ Discussion — Office vs Residential comparison (PI-HGAT generalizability)

§5. Conclusion

- 5.1 Contributions: carbon-aware tri-objective MOO + PI-HGAT surrogate + CMIP6 climate pipeline

- 5.2 Limitations: discrete parameter space, single building type, static GWP factors

- 5.3 Future work: LLM compliance engine, HVAC system topology, full BESS integration, residential extension

Target: ~5,000–6,000 words | Submission: 15 July 2026

!- ========================================================================

!- ROOFTOP PV SYSTEM (PVWatts) — added for ICAE2026 P8 parameterization

!- jEPlus tag target: DC System Capacity field in Generator:PVWatts

!- ========================================================================

Generator: PVWatts,

Rooftop_PV,              !- Name

5,                       !- PVWatts Version

@@P8_PV_W@@,             !- DC System Capacity {W}  <-- jEPlus TAG (e.g. 30000=30kWp)

Standard,                !- Module Type

FixedRoofMounted,        !- Array Type

0.14,                    !- System Losses

TiltAzimuth,             !- Array Geometry Type

10.0,                    !- Tilt Angle {deg}        <-- chỉnh theo mái (HCMC ~10°)

180.0,                   !- Azimuth Angle {deg}     <-- 180=hướng Nam

,                        !- Surface Name

0.4;                     !- Ground Coverage Ratio

ElectricLoadCenter:Inverter:PVWatts,

PV_Inverter,             !- Name

1.10,                    !- DC to AC Size Ratio

0.96;                    !- Inverter Efficiency

ElectricLoadCenter:Generators,

PV_Generator_List,       !- Name

Rooftop_PV,              !- Generator 1 Name

Generator:PVWatts,       !- Generator 1 Object Type

,                        !- Generator 1 Rated Electric Power Output {W}

Always_On,               !- Generator 1 Availability Schedule Name

;                        !- Generator 1 Rated Thermal to Electrical Power Ratio

ElectricLoadCenter:Distribution,

PV_Load_Center,          !- Name

PV_Generator_List,       !- Generator List Name

Baseload,                !- Generator Operation Scheme Type

,                        !- Generator Demand Limit Scheme Purchased Electric Demand Limit {W}

,                        !- Generator Track Schedule Name Scheme Schedule Name

,                        !- Generator Track Meter Scheme Meter Name

DirectCurrentWithInverter, !- Electrical Buss Type

PV_Inverter;             !- Inverter Name

Table 3.5 · Parameter Register

| Sym | Group | Design variable (unit) | n | Baseline (L0) | Discrete levels | Realization | ECF source | Sim¹ | Opt² |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P1 | Opaque envelope | Wall U-value (W/m²·K) | 5 | 1.073 | {1.07, 0.64, 0.46, 0.36, 0.29} | EPS ETICS 0/25/50/75/100 mm | ITB EPD 148/2021 | ✓ | ✓ |

Table A.x · Level Inventory

|  |  | E+/jEPlus → f1 |  | f3 (carbon) |  | f2 (cost) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Param | Level | Design value | jEPlus control | A1–A3 ᵃ | B4 ᵃ | Capital cost ᵇ | Source |
| P1 | L0 | 1.073 | wall_P1_L0 | 0 | 0 | 0 | baseline |
| P1 | L1 | 0.642 | wall_P1_L1 | 0.361 | 0 | TBD | ITB EPD 148/2021 |
| P1 | L2 | 0.458 | wall_P1_L2 | 0.722 | 0 | TBD | ⟂ |
| P1 | L3 | 0.356 | wall_P1_L3 | 1.083 | 0 | TBD | ⟂ |
| P1 | L4 | 0.291 | wall_P1_L4 | 1.444 | 0 | TBD | ⟂ |

ᵃ kgCO₂e/m² sàn (chuẩn hóa A_floor = 4 982 m²); ᵇ USD/m² sàn.

Năm cột cố định — đây là "khuôn" cho P2–P9:

- Design value — con số NSGA-III/surrogate thao tác (U, COP, °C, kWp…).

- jEPlus control — cách E+ thực thi (construction name, field value, hoặc "post-proc").

- A1–A3 — embodied incremental so baseline.

- B4 — embodied × số lần thay đổi trong 20 năm.

- Capital cost — cho LCC. (+ Source để truy nguồn từng dòng → reproducibility.)

| Param | Level | Design value | jEPlus control | A1–A3 | B4 | Cost | Ghi chú |
| --- | --- | --- | --- | --- | --- | --- | --- |
| P6 (setpoint) | L0 | 26 °C | @@P6_sp@@=26 | 0 | 0 | 0 | thuần vận hành, không vật liệu |
| P8 (PV) | L1 | 30 kWp | post-proc | [EPD PV] | [inverter ~yr12] | TBD | tách khỏi E+ batch |
| P9 (BESS) | L1 | 100 kWh | post-proc | [EPD cell] | [thay ~yr10] | TBD | post-proc |